## Sheet1
Change | Description | Purpose | Alternatives | Benefits | Costs | Lawfulness | Efficiency gain/Market or regulatory failure
Various | Change all references from "will" to "must" and "may" | Update the policy statement to be consistent with the Electricity Authority's drafting guidelines. | status quo - but the policy statement will not be consistent with the drafting guidelines | policy statement is consistent with other code provisions, and there is clarity over the firmness of the SO's different obligations. | No costs arise from the change as it is administrative. However, costs may arise if the terms "must" and "may" aren't used in the appropriate places, as "may" suggests a lesser obligation than "must". Some parties expressed disagreement over some use of these terms in the SO's consultation process. | The Code is delegated legislation made in accordance with the Act. It is therefore appropriate that minimum standards of drafting be met before amendments to the Code are made. | Efficiency is gained by having the Code drafted in a consistent manner and in a way that is tailored to its particular technical requirements.
1A | Change the date from which the policy statements takes effect | Clause 8.9(2) of the Code states that "The policy statement must state the date on which the policy statement takes effect." | n/a | Policy statement is up to date and complies with clause 8.9(2) of the Code | No costs arise, change is administrative | The change maintains alignment of the policy statement with the Act, because the Act gives power to the Code as a regulation, and 8.9(2) of the Code specifies that the policy statement should include a date from which the policy statement takes effect. | n/a
12.1.1 | Remove reference to “valve group, overhead dc line or undersea cable” in reference to an HVDC link pole. | It is unnecessary to separately identify these components (which do not comprise an exhaustive list of HVDC components), and the valve groups will no longer exist following the decommissioning of Pole 1 of the HVDC. | Status quo - however the words will be redundant. | Clarity is improved by excluding redundant and out-of-date information | No costs arise, change is administrative | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | There are efficiency gains obtained by having a policy statement that is reflective of current circumstances. This makes the document relevant and more easily understood.
12.4 | Include qualifiers that the loss of stated assets would not comprise an extended contingent event during a planned maintenance or forced outage affecting that asset. | The loss of the stated assets were included as extended contingent events in the 2010 Policy Statement. Controls were to be implemented on the extent to which these would comprise an extended contingent event. It was determined that no additional controls were required, though qualifiers do apply. | Status quo - however, this was agreed with asset owners and is already being enacted following a CAN sent on 30 August 2011. | Improves clarity of the code and gives certainty to participants about what events will constitute an extended contingent event. | No costs arise, change is administrative | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by providing certainty to participants and reflecting current practice. This makes the document relevant and more easily understood
12.6 and 12.7 | Remove these clauses | These clauses relate to work that has now been completed and advised to participants via a CAN on 30 August 2011. | Status quo - however the clauses are no longer required | Improve clarity by removing clauses that are no longer relevant | The change is administrative following the completion of a project. | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state the System Operator's functions, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by having a policy statement that more accurately describes the functions of the System Operator following the completion of a past project.
16 | Reword to include the defined term “demand shedding” | This clause currently discusses demand shedding without using the defined term. This change hence improves clarity and provides greater consistency with clause 74 regarding demand shedding policy | Status quo - but the existing terminology is not as clear or consistent with the rest of the policy statement. | Improve clarity and consistency by using defined terminology | No costs arise, change is administrative | The Code is delegated legislation made in accordance with the Act. It is therefore appropriate that drafting standards are adhered to and defined terminology is used where appropriate. | Efficiency is gained by having the Code drafted in a consistent manner and in a way that is tailored to its particular technical requirements.
17.1.6 | Change term from "frequency reserves" to "instantaneous reserves" | The two terms have essentially the same meaning however “instantaneous reserves” is a defined term whereas “frequency reserves” is not. | Status quo - however the clause is not as clear or consistent with the defined terminology. | Improve clarity and consistency by using defined terminology | No costs arise, change is administrative | The Code is delegated legislation made in accordance with the Act. It is therefore appropriate that drafting standards are adhered to and defined terminology is used where appropriate. | Efficiency is gained by having the Code drafted in a consistent manner and in a way that is tailored to its particular technical requirements.
30.6 | Remove this clause | The previous Policy Statement included a requirement for the SO to provide a historical list of asset outage constraints for a year as a transitional mechanism following the implementation of SFT. This obligation has now expired. | Status quo - however, given the wording of the clause, it is now redundant, as a year has passed since the SFT changeover date. | Improve clarity by removing clauses that are no longer relevant and do not reflect current practice | The policy statement now allows for less information to be provided to participants than previously. The System Operator agreed to work with participants on information availability following the introduction of SFT. | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state the System Operator's functions, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | There are efficiency gains obtained by having a policy statement that is reflective of current practice. This makes the document relevant and more easily understood.
30A | Remove this clause | This clause specifies circumstances under which a change to a constraint made using non-automated processes may not be published in advance . The SO's experience suggests that this situation rarely occurs, and it is unnecessary to retain the clause given that clause 30.1A.2 allows for publication to be made retrospectively if it was not practicable to do so in advance. | Status quo – however the provisions of the clause are sufficiently addressed by clause 30.1A.2. | Avoid unnecessary repetition within the policy statement and hence improve clarity. | The situations is already provided for under clause 30.1A, though there may be a loss of certainty for some participants due to the change. | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by having a policy statement that more succinctly describes the processes employed by the System Operator.
30B - 30G | Include a requirement for the SO to advise on generation scenarios that will be used to develop indicative market system constraints under clause 30C, and to publish indicative market constraints from a planned outage when requested to do so by a participant. | To improve the availability of information to participants regarding the impact of a planned outage on market constraints. | Status quo - but less information would be available to participants with respect to the potential impacts of a planned outage. The SO could be required to provide the information for all planned outages, not just when asked. | Participants can rely on more information being available to them when required so that they can better interpret the likely impact of a planned outage and act accordingly to mitigate any adverse effects on their business. As above. Furthermore, participants could acquire this information without making a request, improving accessibility. | There would be some compliance costs for the SO but these are likely to be small and offset by the potential benefits. Compliance costs would likely be significantly higher for little increased benefit. Sufficient historical information may be available for some constraints. | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by giving participants greater access to information that can help them to avoid the potential costs associated with the flow-on effects of planned outages, and may provide greater transparency on the extent of such potential costs.
31, 33, 33A, 84.6 and 84.9 | Include a new clause 33A, and modify existing terms regarding under-frequency event management | Provide clarity around the actions taken before and after an under-frequency event, including temporarily setting the reserve requirement to zero when interruptible load has been triggered. This reflects current practice. | Status quo - however there would be some ambiguity within the code regarding these processes. | Clarity of the process employed by the System Operator in terms of under-frequency management is enhanced | No costs arise as the change clarifies existing practice. Resetting the reserve market after an event may have system security implications but these are beyond the scope of the policy statement to deal with. | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by having a policy statement that more fully describes the processes employed by the System Operator, providing greater transparency for participants, and hence a greater ability to plan their operations.
93A | Include a new clause requiring publication of constraints applied that directly constrain generation or IR, including the limit of the constraint and the relevant node at which generation/IR is constrained. | Codifies an existing voluntary commitment for the SO to publish information regarding the use of discretion to constrain generation or IR. | Status quo - but participants would have less certainty on the availability of this information | Increased certainty for participants that the information will be made available, and hence greater ability to manage its operations around this. | No additional costs arise as this is already being performed by the SO on a voluntary basis | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by giving participants greater certainty in the availability of information and by having the policy statement more accurately describe the processes employed by the System Operator. This provides greater transparency and a greater ability for participants to plan their operations.
105 | Remove a reference to the SO requiring an Asset Capability Statement from asset owners, as there is already a specific obligation in the Code requiring asset owners to provide this. | Removes the obligation for the SO to require an Asset Capability Statement from asset owners, given that the obligation is already on asset owners to provide this. The change hence removes a redundant requirement. | Status quo - however, it is unnecessary to outline an obligations on both parties to the same end. | Increases clarity that the responsibility for provision of asset information lies with asset owners. | No costs arise | Change is lawful as paragraph 8 (3c) of the Act states that the Code must state how the System Operator's functions are to be performed, and set requirements relating to transparency of the System Operator. The policy statement is included by reference in the Code. | Efficiency is gained by clarifying the obligations on asset owners, providing greater certainty and allowing them to better plan their operations.
109 | Remove requirement to request that the grid owner implement the least cost option of grid configuration. | This clause as it stands is inconsistent with Part 12 of the Code, which sets out the specific circumstances in which a grid configuration can be made. | Status quo - however, this will result in the policy statement obligations being inconsistent with the rest of the Code. Regardless of the provisions of the policy statement, the grid owner cannot reconfigure its assets in a manner that is inconsistent with Part 12. | Policy statement is consistent with Part 12 of the Code. | No costs arise | The change maintains alignment of the policy statement with the Act, because the Act gives power to the Code as a regulation, and Part 12 of the Code outlines the circumstances in which a grid configuration can be made. | Efficiency is gained by having the policy statement accurately reflect current practice and being consistent with the other provisions set out in the Code.
169 | Change the definition of the term "frequency keeping constraints" | Change to a more accurate definition of the term | Status quo - however the policy statement will be less clear | Increases clarity of the policy statement | No costs arise, change is administrative | The Code is delegated legislation made in accordance with the Act. It is therefore appropriate that definitions within the policy statement (which is included by reference in the Code) are accurate and consistent with the intended meaning provided for by the Code. | Efficiency is gained as participants have greater clarity as to the meaning of frequency keeping constraints.