Electricity Information Exchange Protocols (EIEP)

EIEP 3A: Half hour metering information for consumers Effective 1 November 2014

11 July 2014

Version control

| Version | Date amended | EIEP Ref | Comments |
| --- | --- | --- | --- |
| 1 | Draft | EIEP 3A.1 | Draft |

Contents

1	EIEP 3A: Half hour and monthly consumption information for consumers	1

2	Table of codes used in EIEP 3	7

Glossary of abbreviations and terms	10

# EIEP 3A: Half hour and monthly consumption information for consumers

| Title: | EIEP 3A: Half hour and monthly consumption information for consumers |
| --- | --- |
| Version: | 1 |
| Application: | This protocol allows traders (or their appointed agents) to provide volume information to customers at an ICP level to support their energy purchase and consumption decisions. |
| Participants: | Trader/MEP |
| Code reference: | Clause 11.32B (from 16 October 2014) |
| Dependencies: | The Code may also set out requirements relating to the information that must be provided in this file. |

Description of when this protocol applies

A data file formatted in accordance with EIEP3A is to be forwarded by the trader to the customer or their appointed agent (or the Authority for monitoring purposes) to provide half hour volume information that enables the customer to make informed energy decisions. The information contained in an EIEP3A format file must be metered half hour data by ICP where the meter channel records real energy volume (in kWh) together with monthly cumulative consumption, for a period of at least 24 months where such data exists. . This protocol can accommodate multiple ICPs in a single file or an individual file per ICP.

Business requirements

The trader must provide a suitable file transport mechanism by which the trader will provide information to the customer. Non-manual interfaces use electronic file transfer- either via File Transfer Protocol (FTP) or Secure File Transfer Protocol (SFTP) connectivity. In the case of FTP a security mechanism must be used to protect confidentiality. Whatever method is agreed that method must be in a format approved and published by the Authority. Where information is required to be transferred using email, the contents must be delivered in a secure manner and password protected. Unless otherwise agreed between parties, an EIEP3A file containing billing information for the requested period must be delivered by 1700 hours on the 5th business day (business day as defined in the code) following the request. An agent may provide data on behalf of the relevant reconciliation participant, in which case the header for EIEP3A will identify the reconciliation participant. The appointment of an agent must be a permission function of the responsible customer and participants must allow for agents in their systems. A trader must only use codes that are: stipulated in this document; or approved and published by the Electricity Authority; or determined in the registry and reconciliation functional specifications; or Information relating to individual tariff codes must be formatted on separate lines. Information provided in the file will be consistent with the terminology used in the Glossary of Standard Terms published by the Authority. The file must contain all mandatory information, failure to provide the required information will result in the file being deemed as incomplete. Information is to be provided in accordance with the following status codes unless otherwise specified: - O Optional - M Mandatory where applicable - C Conditional - Mandatory if available and required by recipient, otherwise optional Data must be provided for the previous 24 months of consumption if available, as per the relevant Code provisions. The data in an EIEP3A file will normally cover complete calendar months, unless the sender makes it clear that a different period applies. The trading period is the half hour ending based on New Zealand Daylight Savings time, giving 48 trading periods in the day, with the exception of the winter/summer and summer/winter transition days where there are 46 and 50 (respectively) trading periods in the day. If an ICP has multiple meter channels the report must be compiled to provide a single kWh measurement for each trading period. Any additional channels for which data is collected must be reported as additional records in the same file. These additional records should be identified by using the ‘data stream identifier’, ‘data stream type’ and ‘energy flow direction’ fields.

Injection and extraction is to be shown with the ‘flow direction indicator’, where X (extraction) together with a positive ‘unit quantity’ represents electricity leaving the parent network, and I (injection) together with a positive ‘unit quantity’ represents electricity entering the parent network (e.g. as a result of embedded generation) . Extraction and injection volumes, even where on the same ‘network tariff code’, are not to be netted off against each other, and must instead be represented with separate records in the file. Although it is intended that all half hour meters are to measure active and reactive energy, the reactive energy measurement is not to be provided to the customer unless specifically requested. If the trader becomes aware of a format error in a transmitted file, or the file is incomplete, that party must advise the customer as soon as practicable after becoming aware of the issue. If a correction of the error as above is needed, then a full replacement file is to be supplied. . If it is known that the meter reading is taken at the end of the report month, then the ‘reading type’ F (final) must be used and the data is final. The report is to include all (or each single) ICPs with a registry status of Active against the trader that were correctly requested and authorised by the relevant customer. Trading periods and New Zealand daylight time are defined in Part 1 of the Code. Further information to the reconciliation methodology is given in clause 15.36 of the Code.

General requirements

- This specification is based on the requirements of the Code as at 16 October 2014. If there are any conflicts between this document and the Code, the Code will take precedence. In general, all participants must provide the customer with: - accurate information for all points of connection at which they are responsible for the current consumption period; when available, revised information for all points of connection at which they have purchased or sold electricity during any previous consumption period; and any additional information requested in respect of any consumption period. A number of data transfers may be required between participants for the EIEP3A process to take place. Unless the relevant participants have previously agreed otherwise, these data flows must be those required by the Code. At all times they must take place in a secure and predictable manner. It is the responsibility of participants to meet the principles of the Privacy Act when exchanging customer details

Data inputs

Information from a participant’s billing system and/or reconciliation submission file.

| Event data | Format | Trader to Distributor: Mandatory/Optional/ Conditional |  | Validation rules |
| --- | --- | --- | --- | --- |
| Header record type | Char 3 | M |  | HDR – indicates the row is a header record type |
| Version of EIEP | Num 3.1 | M |  | Version of EIEP protocol that is being used for this file. |
| Sender | Char 20 | M |  | Name of sending party. Participant identifier to be used if the sender is a participant. |
| Retailer participant code | Char 4 | M |  | Participant identifier of party on whose behalf consumption data is provided. |
| Brand identifier | Char 15 | M |  | Where the customer is supplied by a brand that is not a retailer participant. |
| Recipient identifier | Char 4 | M |  | Valid recipient identifier such as customer number, name or identification ID |
| Customer Authorisation code | Char 20 | M |  | A unique number that links the customers authorisation of the data to the data file |
| Report run date | DD/MM/YYYY | M |  | Date the report is run |
| Report run time | HH:MM:SS | M |  | Time the report is run |
| Unique file identifier | Char 15 | M |  | Number that uniquely identifies the file. |
| Number of interval data records |  |  |  | Total number of INT records in report |
| Report start date | DD/MM/YYYY | M |  | The start date of the data. |
| Report end date | DD/MM/YYYY |  |  | The end date of the data. |
| Utility type | Char 1 | M |  | Type of energy supply; G = Gas; or E = Electricity |
| File status | Char 1 | M |  | I = Initial or R = Replacement or |
| Checksum | Char15 | M |  | The total of all kWh values in the Active energy column of the detail records in the file. May be encrypted for tamper prevention purposes. |

| Event data | Format | Trader to Distributor: Mandatory/Optional/ Conditional |  | Validation rules |
| --- | --- | --- | --- | --- |
| Detail record type | Char 3 | M |  | INT – indicates the row is a detail record of interval consumption data. |
| ICP identifier | Char 15 | M |  | ICP identifier means a unique identifier for an ICP created by a distributor in accordance with clause 1 of Schedule 11.1 |
| Installation Number | Char 15 | M |  | Identifier that details which installation for ICP with multiple installations |
| Meter Number | Char 15 | M |  | Identifies the meter for installations that have multiple meters |
| Meter channel Number | Char 3 | M |  | Identifies the meter channel for meters that are recording multiple channels |
| Meter channel type | Char 10 | M |  | The relevant registry code for the meter channel (eg. UN24, CN08) |
| Reading type | Char 2 | M |  | Final (F) |
| Date | DD/MM/YYYY | M |  | Date |
| Trading period | Int 2 | M |  | Trading period – 1 to 48 (46 or 50 for Daylight Saving). |
| Active energy (kWh) | Num 12.2 | M |  | Consumption in kWh |
| Energy Flow direction | Char 1 | M |  | An identifier of whether the channel records the import (injection from the ICP into the Network) (“I”), or the export (extraction from the Network to the ICP) (“X”). |
| Data stream type | Char 10 | C |  | Null implies standard billable volume else defined by receiver |

Protocol specifications

- The information is to be provided as a comma delimited text file. Commas are therefore prohibited within fields. - Each formatted file will consist of one or more records, with each record being a single line of text as defined in the business rules. Records are to be delimited with one of the following: - a carriage return character and a line feed character combination (ASCII characters 13 and 10) commonly used in Windows based programs, or a line feed character (ASCII character 10) commonly used in Unix based programs, or a carriage return character (ASCII character 13) commonly used in Mac based programs. - Data fields within files must be defined using the attributes in the table following these specifications. - Matching of file names, code list values, etc, must to be case insensitive. - Each data file must contain only one header but can contain any number of detail records. - The first record of a file must contain ‘Header” information followed by zero or more detail lines. - Each file created must have a file name as outlined below and must have names that are unique within any month: - Sender + Utility Type + Report Run Date + UniqueID# (e.g. hhmm run time, or ICP but limited to Char(60) with an extension of .TXT and with the components concatenated using the underscore character, to assist readability. - e.g. TRUS_E_20000802_ICP00000123456ABCDE.TXT - [Char4_Char1_Char4_ Char7_yyyymm_yyyymmdd_UniqueID.TXT]

Data outputs

# Table of codes used in EIEP 3

Table 1 List of attributes to define data fields used in EIEP 3

| Logical format | Data type | Rules | Example |
| --- | --- | --- | --- |
| INT (n) | Integer | ASCII representation of an integer number (ie no decimals), no leading zeros, no spaces, a leading “-“ if negative (no sign if positive), with 1 to n digits. Numbers only: ASCII characters 48 to 57, and 45 where applicable. | INT (4) 12 -1234 |
| NUM (n.d) | Decimal | ASCII representation of a decimal number (ie a rational number), no spaces, a leading “-“ if negative (no sign if positive), with up n digits including up to (n minus d) digits to the left of the decimal place, and up to d digits to the right of the decimal place. For integers, the decimal point is not required. A decimal point on its own must not be used to represent zero (use “0”) Trailing zeros are optional. No leading zeros other than when the number starts with “0.” Numbers only: ASCII characters 48 to 57, and 45/46 where applicable. | NUM (6.2) 123.45 1234.0 -12.32 NUM (6.3) -0.123 23.987 987.000 8 |
| CHAR (n) | Text | Up to n characters (ASCII characters 32 to 43 and 45 to 126 only). As commas (ASCII character 44) are used as field separators, they must not be used within the field data (it is recommended that any commas found in source data be changed to a semi-colon (ASCII character 59) when files are created. Fields must not contain any leading or trailing spaces. | The quick brown fox |
| DATE | Date | ASCII format with: Year represented as: — YYYY for century and year Month represented as: — MM to display leading zero Day represented as — DD to display leading zero ASCII format for any separators used | YYYYMMDD e.g. 20050216 DD/MM/YYYY e.g. 16/02/2005 |
| TIME | Time | ASCII in 24 hour format Hour represented as HH with leading zeros Minutes represented as MM with leading zeros Seconds represented as SS with leading zeros ASCII format for any separators used Note: both NZST and NZDT will be used and will be indicated as necessary | HH:MM:SS e.g. 13:15:01 HH:MM e.g. 13:15 |
| DATETIME | Date/Time | ASCII format with same rules as both Date and Time Data Types | YYYYMMDDHHMMSS e.g. 20050216131501 |
| NULL | Null | Field contains no data |  |

Table 2 ASCII character set for use within fields of EIEP 3

| Character | ASCII |  | Character | ASCII |  | Character | ASCII |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 32 | Space |  | 64 | @ |  | 97 | a |
| 33 | ! |  | 65 | A |  | 98 | b |
| 34 | " |  | 66 | B |  | 99 | c |
| 35 | # |  | 67 | C |  | 100 | d |
| 36 | $ |  | 68 | D |  | 101 | e |
| 37 | % |  | 69 | E |  | 102 | f |
| 38 | & |  | 70 | F |  | 103 | g |
| 39 | ' |  | 71 | G |  | 104 | h |
| 40 | ( |  | 72 | H |  | 105 | i |
| 41 | ) |  | 73 | I |  | 106 | j |
| 42 | * |  | 74 | J |  | 107 | k |
| 43 | + |  | 75 | K |  | 108 | l |
|  |  |  | 76 | L |  | 109 | m |
| 45 | - |  | 77 | M |  | 110 | n |
|  |  |  | 78 | N |  | 111 | o |
| 46 | . |  | 79 | O |  | 112 | p |
| 47 | / |  | 80 | P |  | 113 | q |
| 48 | 0 |  | 81 | Q |  | 114 | r |
| 49 | 1 |  | 82 | R |  | 115 | s |
| 50 | 2 |  | 83 | S |  | 116 | t |
| 51 | 3 |  | 84 | T |  | 117 | u |
| 52 | 4 |  | 85 | U |  | 118 | v |
| 53 | 5 |  | 86 | V |  | 119 | w |
| 54 | 6 |  | 87 | W |  | 120 | x |
| 55 | 7 |  | 88 | X |  | 121 | y |
| 56 | 8 |  | 89 | Y |  | 122 | z |
| 57 | 9 |  | 90 | Z |  | 123 | { |
| 58 | : |  | 91 | [ |  | 124 | ¦ |
| 59 | ; |  | 92 | \ |  | 125 | } |
| 60 | < |  | 93 | ] |  | 126 | ~ |
| 61 | = |  | 94 | ^ |  |  |  |
| 62 | > |  | 95 | _ |  |  |  |
| 63 | ? |  | 96 | ` |  |  |  |

Glossary of abbreviations and terms

| Act | Electricity Industry Act 2010 |
| --- | --- |
| AMI | Advanced metering infrastructure |
| Authority | Electricity Authority |
| CBA | Cost-benefit analysis |
| Code | Electricity Industry Participation Code 2010 |
| CSV | Comma separated values |
| EIEP | Electricity Information Exchange Protocol |
| FTP | File Transfer Protocol |
| GIP | Grid injection point |
| GXP | Grid exit point |
| ICP | Installation Control Point |
| kWh | Kilowatt hour |
| MUoSA | Model use-of-system agreement |
| NSP | Network supply point |
| POC | Point of connection |
| Registry | National database that contains information on every point of connection on a network to or from a site for which electricity is supplied or generated. |
| RM | Reconciliation manager |
| SDFG | Standing Data Formats Group |
| UFE | Unaccounted for electricity |
| UoSA | Use of systems agreement |
| XML | Extensible mark-up language |

Please do not delete this paragraph; it has a bookmark that’s required for page numbering.