## Options
Yellow highlights are key input assumptions |  | Option 2 - 'RTD' |  |  | Option 3 - 'RTP'
Effect 1 - Demand response benefit
Modelled as capex saving from reduction in peaking plant, minus incremental cost of additional DR operation |  | Lower | Base case | Higher | Lower | Base case | Higher
(Based on method in 'Pricing alignment discussion paper', WAG, June 2013, Appendix D)
Saving of capex in peaking plant | [7 empty] | www.ea.govt.nz/development/work-programme/wholesale/alignment-forecast-settlement-prices/consultation/
Load that could respond to spot prices | MW | 390 | 481.6 | 592 | 390 | 481.6 | 592 | WAG paper estimated up to 400MW available based on larger users on distribution networks. Took average after growing peak over evaluation period
Extra proportion that will respond if RTP option is implemented | % | 8% | 10% | 12% | 5.36% | 6.7% | 8.04% | Response not as high as option 2 because prices are ex-post and dispatchable demand regime is changed, assume 2/3rds effectiveness
Amount of peaking generation required to substitute for deterred DR and DG | Ratio | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | WAG paper estimated 0.5 to 0.9 - have assumed mid-point
Cost of new peaking gen and associated network | $M/MW | 1 | 1.2 | 1.4 | 1 | 1.2 | 1.4 | WAG paper estimated at $1.5M/MW but adjusted for new information
Additional peaking gen required as a result of deterred DR/DG operation | MW | 21.84 | 33.712 | 49.728 | 14.6328 | 22.587 | 33.3178
Equivalent percentage of peak demand |  | 0.3165% | 0.4886% | 0.7207% | 0.2121% | 0.3273% | 0.4829% | Provides 'reality check'
Avoided capital cost of inefficient peaking generation (no deferral assumed) | $M | 21.84 | 40.4544 | 69.6192 | 14.6328 | 27.1044 | 46.6449
Incremental cost of increased DR operation
Difference in variable cost of DR cf peaker operation | $/MWh | 250 | 250 | 250 | 250 | 250 | 250 | WAG paper implicitly assumed variable cost for DR equivalent to variable cost of peaker - instead assume DR cost is greater by $250/MWh, i.e. DR around $550/MWh on average
Hours per year | Hr/yr | 90 | 90 | 90 | 90 | 90 | 90 | Assumption
Average capacity factor |  | 1.027% | 1.027% | 1.027% | 1.027% | 1.027% | 1.027%
Cost per year | $M/yr | -0.4914 | -0.75852 | -1.1189 | -0.32924 | -0.50821 | -0.74965
Present value of costs over 15 years | $M | -4.2061 | -7.3669 | -12.4401 | -2.8181 | -4.9358 | -8.3349
Present value of demand response benefits and costs | $M | 17.6339 | 33.0875 | 57.1791 | 11.8147 | 22.1686 | 38.31
Years until new investment required in peaking capacity | Years | 0 | 0 | 0 | 0 | 0 | 0 | WAG paper assumed deferral of 5-10 years. Deferral now appears unlikely given scheduled plant closures and likely implementation delay
Discount factor for deferral of benefits |  | 1 | 1 | 1 | 1 | 1 | 1
Benefit inclusive of deferral | $M | 17.6339 | 33.0875 | 57.1791 | 11.8147 | 22.1686 | 38.31
Effect 2 - Innovation benefit
Savings in capex on peaking plant, enabled by greater residential DR
Reduction in residential peak load enabled by improved price information | % | 0.5% | 1% | 1.5% | 0.335% | 0.67% | 1.005% | Plausible assumption
Reduction in peaking generation requirement | MW | 16.2067 | 36.9914 | 65.6679 | 10.8585 | 24.7843 | 43.9975
Capex saving from reduced peaker investment | $M | 16.2067 | 44.3897 | 91.9351 | 10.8585 | 29.7411 | 61.5965
Incremental cost of increased DR operation
Difference in variable cost of DR cf peaker operation | $/MWh | 500 | 500 | 500 | 500 | 500 | 500 | Assumption that additional residential DR has incremental cost that is 2 x that of effect 1
Hours per year | Hr/yr | 90 | 90 | 90 | 90 | 90 | 90 | Assumption - same proportion as effect 1
Average capacity factor |  | 1.027% | 1.027% | 1.027% | 1.027% | 1.027% | 1.027%
Cost per year | $M/yr | -0.7293 | -1.6646 | -2.9551 | -0.48863 | -1.1153 | -1.9799
Present value of costs over 15 years | $M | -6.2424 | -16.1672 | -32.8555 | -4.1824 | -10.832 | -22.0132
Years until benefits first accrue | Years | 10 | 5 | 2 | 10 | 5 | 2
Discount factor for deferral of benefits |  | 2.1589 | 1.3382 | 1.0816 | 2.1589 | 1.3382 | 1.0816
Present value of benefits and costs | $M | 4.6154 | 21.0896 | 54.6224 | 3.0923 | 14.13 | 36.597
Effect 3 - Reliability benefit
Modelled as impact of system being above or below efficient capacity level
Difference between actual and efficient level of capacity | MW | 0 | 50 | 75 |  |  |  | Mid-case based on Authority
Difference as % of peak demand |  | 0% | 0.7326% | 0.9286% |  |  |  | Provides 'reality check'
Loss per year from having excess or insufficient capacity relative to optimum | $M/year | 0 | 1 | 2 | 0 | 0 | 0 | www.ea.govt.nz/dmsdocument/13936 | From Authority analysis of security margins
Loss over evaluation period | $M | 0 | 9.7122 | 22.2368 | 0 | 6.5072 | 14.8986
|  | Option B |  |  | Option C
Item $m (present value) |  | Lower case | Base case | Higher case | Lower case | Base case | Higher case
Benefits*
Demand response benefit |  | 17.6339 | 33.0875 | 57.1791 | 11.8147 | 22.1686 | 38.31
Retail competition benefit (innovation) |  | 4.6154 | 21.0896 | 54.6224 | 3.0923 | 14.13 | 36.597
Reliability benefit |  | 0 | 9.7122 | 22.2368 | 0 | 6.5072 | 14.8986
Gross benefits |  | 22.2492 | 63.8893 | 134.0383 | 14.907 | 42.8058 | 89.8056
Costs
System operation function |  | -12 | -10 | -8 | -6 | -5 | -4
Pricing manager function (saving) |  | 3.8485 | 4.3668 | 4.999 | 0 | 0.97122 | 3.1311
Participant costs |  | 0 | 0 | 0 | 0 | 0 | 0
Gross costs |  | -8.1515 | -5.6332 | -3.001 | -6 | -4.0288 | -0.86888
Net benefits/(costs) |  | 14.0977 | 58.2561 | 131.0373 | 8.907 | 38.777 | 88.9368
* Excludes some benefits that have not be quantified
Performance ratio of Option C gross benefits to Option B gross benefits | 67%
|  | Lower case | Base case | Higher case
Ratio where Options B & C have same net benefit |  | 92% | 97% | 98%
Note on D19: Assumption from TPM OR paper. WAP for DR/DG around $260/MWh higher than peaker SRMC
Note on E52: Approximate interpolation between $1m (50MW) and $5m (100MW) recognising that it is non-linear
Note on G11: Assume 2/3 of benefit of RTD option
Note on H11: Assume 2/3 of benefit of RTD option
Note on H19: Assumption from TPM OR paper. WAP for DR/DG around $260/MWh higher than peaker SRMC
Note on I11: Assume 2/3 of benefit of RTD option

## Global assumptions
Global assumptions
Assumption |  | Lower case | Base case | Higher case | Comments
Discount rate | % | 8% | 6% | 4% | Authority guidelines
Evaluation period | Years | 15 | 15 | 15 | Authority guidelines
Time to implement | Years | 5 | 4 | 3 | Based on system operator assessment in ROM
Peak demand level 2015 | MW | 6900
Residential peak demand 2015 | MW | 3740
Existing & latent DR 2015 | MW | 400
Existing & latent DG 2015 | MW | 50
Peak demand growth | %/pa | 0% | 1.1% | 2.5% | Transpower, Transmission Planning Report 2015, central case is 1.1% p.a., other rates inferred from Figure 4-2
Residential peak demand growth | %/pa | 0% | 1.1% | 2.5% | Adopt same as average - but note that residential has historically been more peaky, though new technologies may alter this
Note on C10: Historic datai
Note on C11: 2.2 kW contribution at pealk, x no of ICPs

## Timing calculations
Year |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Low case
Peak demand level | MW | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900 | 6900
Residential peak demand | MW | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740
Existing & latent DR |  | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
Existing & latent DG |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Total |  | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
Reduced peak through innovation | [7 empty] | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7
Average peak demand |  | 2015: 5980
Average residential peak demand |  | 2015: 3241.3333
Average response in eval period |  | 2015: 390
Mid case
Peak demand level |  | 6900 | 6975.9 | 7052.6349 | 7130.2139 | 7208.6462 | 7287.9413 | 7368.1087 | 7449.1579 | 7531.0986 | 7613.9407 | 7697.6941 | 7782.3687 | 7867.9748 | 7954.5225 | 8042.0222 | 8130.4845 | 8219.9198 | 8310.3389 | 8401.7526
Residential peak demand |  | 3740 | 3781.14 | 3822.7325 | 3864.7826 | 3907.2952 | 3950.2755 | 3993.7285 | 4037.6595 | 4082.0738 | 4126.9766 | 4172.3733 | 4218.2694 | 4264.6704 | 4311.5817 | 4359.0091 | 4406.9582 | 4455.4348 | 4504.4446 | 4553.9935
Existing & latent DR |  | 400 | 404 | 408 | 412 | 417 | 422 | 427 | 432 | 437 | 442 | 447 | 452 | 457 | 462 | 467 | 472 | 477 | 482 | 487
Existing & latent DG |  | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68
Total |  | 450 | 455 | 460 | 465 | 471 | 477 | 483 | 489 | 495 | 501 | 507 | 513 | 519 | 525 | 531 | 537 | 543 | 549 | 555
Reduced peak through innovation | [6 empty] | 39.5028 | 39.9373 | 40.3766 | 40.8207 | 41.2698 | 41.7237 | 42.1827 | 42.6467 | 43.1158 | 43.5901 | 44.0696 | 44.5543 | 45.0444 | 45.5399
Average peak demand |  | 400 50 450: 6824.6256
Average residential peak demand |  | 400 50 450: 3699.1449
Average |  | 400 50 450: 481.6
High case
Peak demand level |  | 6900 | 7072.5 | 7249.3125 | 7430.5453 | 7616.3089 | 7806.7167 | 8001.8846 | 8201.9317 | 8406.98 | 8617.1545 | 8832.5834 | 9053.3979 | 9279.7329 | 9511.7262 | 9749.5194 | 9993.2573 | 10243.0888 | 10499.166 | 10761.6452
Residential peak demand |  | 3740 | 3833.5 | 3929.3375 | 4027.5709 | 4128.2602 | 4231.4667 | 4337.2534 | 4445.6847 | 4556.8268 | 4670.7475 | 4787.5162 | 4907.2041 | 5029.8842 | 5155.6313 | 5284.5221 | 5416.6351 | 5552.051 | 5690.8523 | 5833.1236
Existing & latent DR |  | 400 | 410 | 420 | 430 | 441 | 452 | 463 | 475 | 487 | 499 | 511 | 524 | 537 | 550 | 564 | 578 | 592 | 607 | 622
Existing & latent DG |  | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76
Total |  | 450 | 461 | 472 | 483 | 495 | 507 | 519 | 532 | 545 | 558 | 571 | 586 | 601 | 616 | 632 | 648 | 664 | 681 | 698
Reduced peak through innovation | [5 empty] | 61.9239 | 63.472 | 65.0588 | 66.6853 | 68.3524 | 70.0612 | 71.8127 | 73.6081 | 75.4483 | 77.3345 | 79.2678 | 81.2495 | 83.2808 | 85.3628 | 87.4969
Average peak demand |  | 400 50 450: 8076.8045
Average residential peak demand |  | 400 50 450: 4377.8622
Average |  | 400 50 450: 592