## Instructions
Monitoring of compliance with Code requirements for periodic testing of assets
As at 30 June 2017
Introduction
Clause 8(2)(a) of Technical Code A of Schedule 8.3 of the Code requires each asset owner to carry out periodic testing of its assets in accordance with Appendix B of Technical Code A of Schedule 8.3.
The Electricity Authority is undertaking a stocktake of asset owners' compliance with the testing requirements set out in Appendix B of Technical Code A.
The Authority will be sharing the information it gathers with the system operator.
Your organisation warrants that the information it provides to the Electricity Authority is correct.
Instructions for completing the tables in this workbook
This Excel workbook contains 2 worksheets - shown by the 2 tabs across the bottom of the workbook.
The first tab contains this 'Instructions' worksheet
The remaining tab contains a worksheet with several tables to be completed. This worksheet relates to clause 13 in Appendix B of Technical Code A. The worksheet contains 8 tables to be completed.
Scroll across the worksheet in each tab to move between the tables.
Complete each table by populating data down the worksheet. Please continue to populate data down the worksheet if you reach the end of the highlighted table.
For further information
If you have any queries, please contact Peter Wakefield of the Authority's compliance team.
Peter's contact details are: (04) 460 8864 or peter.wakefield@ea.govt.nz

## Appendix B Clause 13
Monitoring of compliance with Code requirements for periodic testing of assets
As at 30 June 2017
Asset owner a.c. protection systems
(Schedule 8.3, Technical Code A, Appendix B, clause 13)
Clause 13(a) Test the operation of the analogue protection systems on the a.c. assets at least once every 4 years | [7 empty] | Clause 13(b) Test the operation of the non-self monitoring digital protection systems on the a.c assets at least once every 4 years | [7 empty] | Clause 13(c) Test the operation of the self monitoring digital protection systems on the a.c. assets at least once every 10 years | [7 empty] | Clause 13(d) Test the operation of the protection system measuring circuits on the a.c. assets by secondary injection at least once every 4 years | [7 empty] | Clause 13(e) Test the operation of the protection system trip circuits, including circuit breaker trips, on the a.c. assets at least once every 4 years | [7 empty] | Clause 13(f) Confirm, at least once every 4 years, that the protection settings are identified, co-ordinated, applied correctly and meet the requirements of the AOPOs and the technical codes | [7 empty] | Clause 13(g) Based on the tests under paragraphs 13(a)-13(e), provide a verification to the system operator in an updated asset capability statement that the protection systems meet the requirements of the AOPOs and technical codes |  | Clause 13(h) Based on the confirmation under paragraph 13(f), provide an updated asset capability statement
Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Participant name | Site name (eg, HLY, SFD) | Asset ID (e.g. G1 or HLY CB 362) | Nameplate capacity | Test date (dd/mm/yyyy) | Were the test results provided to the system operator? | What action is being taken to address any non-compliance? | Intended date for resolution of non-compliance (if applicable) (mm/yyyy) | Was the system operator provided with a verification that the protection systems meet the requirements of the AOPOs and technical codes? | Was the verification provided in an updated asset capability statement? | Was an updated asset capability statement provided to the system operator following a confirmation under paragraph 13(f)?